Attachment no 2

[town/city] [………………•], date [………………•]

Contractor: [Name / address / registry court / KRS [National Court Register] number / NIP [Tax ID] / REGON [Statistical Register Number] / contact person / e-mail address / telephone number]

Contracting Party: VIGO System Spółka Akcyjna, Joint-Stock Company with its registered office in Ożarów Mazowiecki, ul. Poznańska 129/133, 05-850 Ożarów Mazowiecki, entered into the Register of Entrepreneurs of the National Court Register kept by the District Court for the Capital City of Warsaw in Warsaw, 14th Commercial Division of the National Court Register, 
KRS (National Court Register) No. 0000113394,
NIP (Tax ID): 5270207340, REGON (Statistical Register Number): 010265179, with the share capital of
PLN 729,000.00 (paid up in full)

SPECIMEN OF PROPOSAL FORM 
FOR THE REQUEST FOR PROPOSAL OF 8 January, 2020 No. ZOZ-1_21

I, the undersigned ………………………………[•], acting as ………………………………[•] (hereinafter referred to as the “Contractor”), in response to the request for proposal of 8 January, 2021   number ZOZ-1_21 (hereinafter referred to as the “Request for Proposal”), hereby submit a proposal for a supply of optical system for in-situ and post-growth of cultured epitaxial layers - measurement of Mercury Cadmium Telluride MOCVD growth ratio at the Purchaser location according to the specifications detailed under point 5 of the description of the order, attached to the Request for Proposal as the Appendix 1, as well as personnel training, according to the list of requirements under point 2 (hereinafter referred to as the “Contract”), for a comprehensive implementation by VIGO System Spółka Akcyjna, Joint-Stock Company with registered office in Ożarów Mazowiecki (hereinafter referred to as the “Contracting Party”) project entitled the “Implementation of detection technology developed as part of the "Exposure" project”, under Sub-measure 3.2.2. Technology innovation credit, Smart Growth Operational Programme 2014 – 2020 co-financed by the European Regional Development Fund – in accordance with the terms and conditions of the Contract described in the Request for Proposal.

Price and warranty offered for the Subject of the Contract

Warranty  [………………………•] moths

Net Price: [………………………•] (in words: [………………………•]).

Gross Price: [………………………•]  (in words: [………………………•]).

Value Added Tax: [………………………•] (in words: [………………………•]).

Acceptance table - fill in according to the missing field:

| Device name: Optical system for in-situ measurement of Mercury Cadmium Telluride MOCVD growth ratio |  |
| --- | --- |
| Subassembly | Parametrs/Functions | Yes / No; It has, /it doesn't; |
| Optical measurement of CdTe growth | Optical system equipped with laser source emitting radiation weakly absorbed by CdTe, enabling layer thickness measurement during the growth based on interferogram analysis of beams reflected form epitaxial growth surface and substrate (GaAs) surface Software for live calculation of thickness and growth ratio of CdTe in given by user period of time Precision of CdTe thickness measurement below 1% for 1.5um thick layer |  |
| Optical measurement of Hg1-xCdxTe growth | Optical system for wafer reflectance measurement during epitaxial growth Software for calculation of cadmium mole fraction in Hg1-xCdxTe layer during IMP growth, based on reflectance changes in time Precision of in- situ measurement of mole fraction of cadmium in Hg(1-x)Cd(x)Te better than ± 0,005 for IMP growth |  |
| Software for measurement results analysis | Software optimization according to purchasers requirements including Possibility of comparing results from various epitaxial runs (including in- situ and post growth) Possibility of data export to .txt files and for spreadsheets Possibility of notification output using network connection for user defined parameters Ensuring data connection between the optical system and computer used for MOCVD control |  |
| Others | Epitaxial layer roughness measurement Wafer rotation speed estimation |  |
| Computer | Computer with required for software |  |
| Warranty and service | the Contractor shall provide machine service free of charge during the warranty period: -the time to start the repair will take place within a maximum of 3 working days from the moment of reporting the defect, the Contractor shall provide paid a lifetime post-warranty service and access to spare parts the Contractor shall provide lifetime support by telephone and e-mail with a response time of less than 8 hours, in business days; the Contractor shall provide paid machine service reaction time (the time until the beginning of repair actions) in case of malfunction shall be less than 3 business days from the moment the malfunction is reported, The Contractor will provide lifetime technical support including free updates and the possibility of expanding the device. |  |
| Other important provisions | As part of the installation of the device, the Contractor, with the participation of the Ordering Party, will carry out an inspection and carry out the necessary measurements and tests to best adapt the device to the Ordering Party's needs and confirm the parameters described in the technical specification (Precision of CdTe thickness measurement; Precision of in- situ measurement of mole fraction of cadmium in Hg(1-x)Cd(x)Te) ● The contractor will install the device at the Vigo System premises and will immediately calibrate the components with the participation of designated Vigo System employees ● The Contractor will ensure the compliance of the goods with the CE declaration. ● The device is to be new, not presented at fairs, shows and other forms of demonstration ● The contractor must provide a user manual in Polish or English |  |

The product description is attached to the offer.

Proposal Validity Period

The validity period of the proposal is 60 days from the final date of the time limit for the proposal submission, as defined in the Request for Proposal.

Contractor’s Contact Person

[………………………•], telephone number  [………………………•], e-mail  [………………………•].

Contractor’s Declaration

The Contractor declares having read the Request for Proposal, particularly the terms and conditions of the Contract performance, contract, and does not raise any objections and also confirms the receipt of all the information necessary to prepare the following proposal and to perform the Contract.

If the following proposal is considered to be the most favorable one, the Contractor undertakes to sign the contract with the Ordering Party at the time and in the place indicated by the Ordering Party.

The Contractor agrees to perform the Contract described in the Request for Proposal in accordance with the requirements included in the Request for Proposal and with mandatory provisions of law and acting with due diligence.

The Contractor declares as follows:

the offered product is fully compliant with the specification specified in the description of the subject of the contract, points 1, 2 and 5

deliver the product within the time limit specified in the inquiry,

provide a warranty and service and other requirements in accordance with the provisions contained in point 1 of the Description of the subject of the contract (Annex 1 to the Inquiry),

Documents attached to this proposal constitute an integral part hereof.

Contractor’s Signature

___________________________

[•]

Attachments:

Extract from the Economic Operator's National Court Register / Extract from the Economic Operator's CEIDG / other registration document appropriate for the Economic Operator - according to the Inquiry, not older than 3 months from the deadline for submitting bids indicating the persons authorized to represent the Contractor;

Power of attorney (if the offer is submitted by an attorney-in-fact) Appendix No. 7 to the request for quotation;

Contractor's declaration on meeting the conditions for participation in the procedure Appendix 3 to the inquiry;

The Contractor's declaration that there are no connections - Annex 4 to the inquiry;

Appendix No. 6 - list of deliveries;

Description of the offered product;

GDPR statement - Annex 8 to the inquiry