Attachment no 2

[town/city] [………………•], date [………………•]

Contractor: [Name / address / registry court / KRS [National Court Register] number / NIP [Tax ID] / REGON [Statistical Register Number] / contact person / e-mail address / telephone number]

- Contracting Party: VIGO System Spółka Akcyjna, Joint-Stock Company with its registered office in Ożarów Mazowiecki, ul. Poznańska 129/133, 05-850 Ożarów Mazowiecki, entered into the Register of Entrepreneurs of the National Court Register kept by the District Court for the Capital City of Warsaw in Warsaw, 14th Commercial Division of the National Court Register, 
KRS (National Court Register) No. 0000113394,
NIP (Tax ID): 5270207340, REGON (Statistical Register Number): 010265179, with the share capital of
PLN 729,000.00 (paid up in full)

SPECIMEN OF PROPOSAL FORM 
for the Request for Proposal of 18th February 2021 no. ZOZ-5_21

I, the undersigned ………………………………[•], acting as ………………………………[•] (hereinafter referred to as the “Contractor”), in response to the request for proposal of 18th February 2021   no. ZOZ-5_21 (hereinafter referred to as the “Request for Proposal”), hereby submit a proposal for a supply of the automatic cleaning system of semiconductor substrates to the headquarters of the Contracting Party and training of the employees (hereinafter referred to as the “Contract”), for a comprehensive implementation by VIGO System Spółka Akcyjna, Joint-Stock Company with registered office in Ożarów Mazowiecki (hereinafter referred to as the “Contracting Party”) project entitled the “Implementation of detection technology developed as part of the "Exposure" project”, under Sub-measure 3.2.2. Technology innovation credit, Smart Growth Operational Programme 2014 – 2020 co-financed by the European Regional Development Fund – in accordance with the terms and conditions of the Contract described in the Request for Proposal.

- Price and warranty offered for the Subject of the Contract

  - Warranty  [………………………•] moths

  - Net Price: [………………………•] (in words: [………………………•]).

  - Gross Price: [………………………•]  (in words: [………………………•]).

  - Value Added Tax: [………………………•] (in words: [………………………•]).

Acceptance table - fill in according to the missing field:

| # | Component | Parameter/Function | Description | Yes/no; There is/there isn’t: |
| --- | --- | --- | --- | --- |
| 1 | Automatic cleaning system | Porous spinner table for 6” frames | - Spinner table with controllable rotation speed with the minimum speed at least 100 RPM or less |  |
|  |  | Variable nozzle speed adjustment | - Variable, programmable nozzle cleaning speed at least up to 37°/s |  |
|  |  | High pressure pump | - High pressure water pump with adjusted pressure up to at least 100 bar |  |
|  |  | Internal duct-fan unit | - Internal fan unit for forced blow of water mist from the device |  |
|  |  | Rinse function | - Function for rinsing mode |  |
|  |  | Double nozzle | - Double nozzle for simultaneous use of high pressure and atomizing nozzles inside one recipe |  |
|  |  | High pressure nozzle for the double nozzle | - High pressure nozzle suitable for the double nozzle |  |
|  |  | Atomizing nozzle for the double nozzle | - Atomizing nozzle with higher cleaning capability suitable for the double nozzle |  |
|  |  | Upgradable to mechanical cleaning | - Possibility of upgrading the system to mechanical sponge cleaning |  |
|  |  | Frame adapter | - Adapter for 6” and 8” frames |  |
| 2 | System control | System software | - Graphical User Interface - Programmable cleaning recipes - Data Import/ Export via USB for program backup and configuration on external PC |  |

The product description is attached to the offer.

- Proposal Validity Period

  - The validity period of the proposal is 60 days from the final date of the time limit for the proposal submission, as defined in the Request for Proposal.

- Contractor’s Contact Person

  - [………………………•], telephone number  [………………………•], e-mail  [………………………•].

- Contractor’s Declaration

  - The Contractor declares having read the Request for Proposal, particularly the terms and conditions of the Contract performance, contract, and does not raise any objections and also confirms the receipt of all the information necessary to prepare the following proposal and to perform the Contract.

  - If the following proposal is considered to be the most favorable one, the Contractor undertakes to sign the contract with the Ordering Party at the time and in the place indicated by the Ordering Party.

  - The Contractor agrees to perform the Contract described in the Request for Proposal in accordance with the requirements included in the Request for Proposal and with mandatory provisions of law and acting with due diligence.

  - The Contractor declares as follows:

    - the offered product is fully compliant with the specification specified in the description of the subject of the contract, points 1, 2 and 5

    - deliver the product within the time limit specified in the inquiry,

    - provide a warranty and service and other requirements in accordance with the provisions contained in point 1 of the Description of the subject of the contract (Annex 1 to the Inquiry),

  - Documents attached to this proposal constitute an integral part hereof.

Contractor’s Signature

___________________________

[•]

Attachments:

- Extract from the Economic Operator's National Court Register / Extract from the Economic Operator's CEIDG / other registration document appropriate for the Economic Operator - according to the Inquiry, not older than 3 months from the deadline for submitting bids indicating the persons authorized to represent the Contractor;

- Power of attorney (if the offer is submitted by an attorney-in-fact) Appendix No. 6 to the request for proposal;

- Contractor's declaration on meeting the conditions for participation in the procedure Appendix 3 to the proposal;

- The Contractor's declaration that there are no connections – Appendix no. 4 to the Request for Proposal;

- Description of the offered product;

- GDPR statement – Appendix no. 7 to the Request for Proposal.